## Slide 1
Read video frame
Cell Detection Filters
Kendra Nyberg: Rowat Lab
23 March 2016
Purpose: The ability to track cells as they deform through the microfluidic constriction requires accurate detection of cell projections in high frame rate videos. To enable this, we employ a set of image filters to resolve individual cells in the constriction region.
Background subtract
Threshold
Remove small objects (< 20 px)
Median smooth
Morphological close
Object fill
Cell Detection
Cell Tracking
Filtered image of cell
Read filtered images
Post acquisition filtering
(e.g. simultaneous transit events, size-filtering)
Determine ‘unconstricted’ cell size (Region 1)
Determine transit time
(Region 2 – 3)
Output data
Region #
1
2
3
4
5
6
7
8
Record number of
occupied lanes
(Regions 1 – 8; all lanes)

## Slide 2
Chart: Position (pixels)
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 26.0 | 27.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0
Tangential | 199.25 | 198.0516 | 200.4496 | 199.2902 | 200.875 | 202.9865 | 195.9832 | 175.4194 | 171.8643 | 202.9133 | 231.9402 | 216.2592 | 188.0415 | 187.2127 | 190.3179 | 190.1568 | 193.2188 | 198.7639 | 210.2477 | 210.2108 | 194.0635 | 199.7109 | 225.0154 | 217.2633 | 182.1494 | 169.6145 | 184.553 | 196.9692 | 196.6875 | 196.0461 | 198.2507 | 197.9414 | 197.4375
Normal | 199.5938 | 199.0502 | 201.8012 | 199.4395 | 198.8258 | 201.2053 | 193.0822 | 170.1998 | 171.1044 | 203.3003 | 230.1685 | 224.9541 | 198.2285 | 190.437 | 192.4038 | 192.0093 | 194.0647 | 202.9061 | 212.5545 | 214.1527 | 191.5742 | 195.5642 | 238.6272 | 227.9559 | 176.9346 | 169.808 | 190.8596 | 201.2219 | 197.6047 | 197.9769 | 198.9012 | 199.4463 | 198.1415 | 198.9426 | 197.2278 | 194.7586 | 196.2789 | 197.8125
Tangential | 198.2031 | 199.6667 | 199.4583 | 197.875 | 199.1146 | 198.5417 | 184.4062 | 167.1875 | 184.099 | 223.625 | 230.7135 | 198.7917 | 184.25 | 190.0833 | 193.5469 | 197.1562 | 196.276 | 199.75 | 211.375 | 202.8542 | 187.5312 | 211.4375 | 232.1615 | 204.2604 | 168.2031 | 169.8333 | 191.1042 | 199.7812 | 198.8385 | 203.3125 | 203.4531
Normal | 197.25 | 200.994 | 200.2497 | 199.8168 | 202.7677 | 194.821 | 171.1072 | 169.4467 | 198.7073 | 232.0413 | 230.1993 | 202.0077 | 188.3913 | 195.8098 | 196.3088 | 198.7764 | 196.0018 | 198.0081 | 195.8913 | 185.2441 | 204.6048 | 234.6616 | 204.3946 | 163.2986 | 171.3923 | 191.9088 | 200.449 | 199.2041 | 197.281 | 197.8497 | 199.9579 | 198
Flow
Cell Diameter
Cell
Border